## Parks Summary
CUSTOMER: | Combined Heat and Power Producing Company Limited (CHPP)
# | Power Plant Name | Technology (eg.Wind, Solar, BESS) | Nominal Power [kW] | Revenue Meter Quantity (Unit) | Asset OEM | First level SCADA | SCADA Real-time communication protocol | SCADA Historical communication protocol | VPN Type | Unique point of acquisition (Yes/No) | N. Production Units | Number of tags per plant | Country / Region | City/Town | GPS WGS84 Lat (Y) | GPS WGS84 Lon (X) | Commissioning date
1 | Solar1 (CHPP Solar Farm) | Solar Farm | 5000 | 1 | SMA | Note.3 | IEC104 and Modbus TCP IP | SQL | Local Server | No | Note.3 | to be advised | Thailand | Chanthaburi | 101.85371778272273 | 12.789507032666515 | 2017-12-01 | 12.789507032666515, 101.85371778272273
2 | VISTEC I | Solar Rooftop | 500 | 6 | ABB | Note.3 | Modbus TCP/IP | API | Note 1. | Yes | Note.3 | to be advised | Thailand | Rayong | 101.44359586019007 | 13.002153222221812 | 2020-05-01 | 13.002153222221812, 101.44359586019007
3 | PTTOR Talingchan | Solar Rooftop | 48 | 1 | Huawei | Note.3 | Modbus TCP/IP | API | Note 2. | Yes | Note.3 | to be advised | Thailand | Bangkok | 100.40784282953098 | 13.774093843871077 | 2020-10-01 | 13.774093843871077, 100.40784282953098
4 | PTTOR Minburi | Solar Rooftop | 127 | 2 | Huawei | Note.3 | Modbus TCP/IP | API | Note 2. | Yes | Note.3 | to be advised | Thailand | Bangkok | 100.73394677510484 | 13.819735685319092 | 2020-10-01 | 13.819735685319092, 100.73394677510484
5 | KVIS I | Solar Rooftop | 100 | 1 | ABB | Note.3 | Modbus TCP/IP | API | Note 1. | Yes | Note.3 | to be advised | Thailand | Rayong | 101.44878183829535 | 13.002018586393161 | 2021-11-01 | 13.002018586393161, 101.44878183829535
6 | THAIOIL I | Solar Rooftop | 500 | 1 | Huawei | Note.3 | Modbus TCP/IP | API | Note 2. | Yes | Note.3 | to be advised | Thailand | Chonburi | 100.91039120529314 | 13.119515700671618 | 2020-01-01 | 13.119515700671618, 100.91039120529314
7 | VISTEC II | Solar Rooftop | 890 | 3 | ABB&Huawei | Note.3 | Modbus TCP/IP | API | Note 1. | Yes | Note.3 | to be advised | Thailand | Rayong | 101.44359586019007 | 13.002153222221812 | 2022-05-01 | 13.002153222221812, 101.44359586019007
8 | THAIOIL II | Solar Rooftop | 500 | 4 | Huawei | Note.3 | Modbus TCP/IP | API | Note 2. | Yes | Note.3 | to be advised | Thailand | Chonburi | 100.9149190636746 | 13.111712906986222 | 2022-06-01 | 13.111712906986222, 100.9149190636746
9 | Future Flex | Solar Rooftop | 904 | 2 | Huawei | Note.3 | Modbus TCP/IP | API | Note 2. | Yes | Note.3 | to be advised | Thailand | Samutsakorn | 100.23018120713184 | 13.614695709571235 | 2022-12-01 | 13.614695709571235, 100.23018120713184
10 | SUT | Solar Rooftop+Floating | 6000 | 6 | Huawei | Note.3 | Modbus TCP/IP | API | Note 1. | Yes | Note.3 | to be advised | Thailand | Nakornrachsima | 102.01813167457138 | 14.881568342144755 | 2023-02-01 | 14.881568342144755, 102.01813167457138
11 | PTTEP PTIC | Solar Rooftop | 237.62 | 1 | Huawei | Note.3 | Modbus TCP/IP | API | Note 2. | Yes | Note.3 | to be advised | Thailand | Rayong | 101.44568417030047 | 12.994556931421819 | 2023-10-01 | 12.994556931421819, 101.44568417030047
12 | PTTEP RASC | Soalr Floating | 281.88 | 1 | Huawei | Note.3 | Modbus TCP/IP | API | Note 2. | Yes | Note.3 | to be advised | Thailand | Rayong | 101.16120274014158 | 12.703845245317975 | 2023-10-01 | 12.703845245317975, 101.16120274014158
13 | AICA | Solar Rooftop | 3800 | 2 | Huawei | Note.3 | Modbus TCP/IP | API | Note 2. | Yes | Note.3 | to be advised | Thailand | Ayutthaya | 100.8052734824913 | 14.294405228969916 | 2023-11-01 | 14.294405228969916, 100.8052734824913
14 | INI | Rooftop+Floating | 1600 | 2 | Huawei&Solar Edge | Note.3 | Modbus TCP/IP AND Modbus RTU | API | Note 2. | Yes | Note.3 | to be advised | Thailand | Ayutthaya | 00.81064749228787 | 14.28864105555519 | 2024-07-25 | 14.28864105555519, 100.81064749228787
15 | Enter | Solar Rooftop | 548.3 | 2 | Huawei | Note.3 | Modbus TCP/IP | API | Note 2. | Yes | Note.3 | to be advised | Thailand | Bangkok | 100.5863786626875 | 13.894580079069422 | 2024-10-01 | 13.894580079069422, 100.5863786626875
16 | SURETEX | Solar Rooftop | 3000 | 2 | Huawei | Note.3 | Modbus TCP/IP | API | Note 1. | Yes | Note.3 | to be advised | Thailand | Surathani | 9.26644840570216 | 9.07308280998622 | 2024-09-01 | 9.07308280998622, 99.26644840570216
17 | KVIS II | Solar Rooftop | 88 | 1 | Huawei | Note.3 | Modbus TCP/IP | API | Note 2. | Yes | Note.3 | to be advised | Thailand | Rayong | 101.44878183829535 | 13.002018586393161 | 2025-08-01 | 13.002018586393161, 101.44878183829535
Note 4.
Note
1 | Customer Network
2 | No VPN
3 | See detail in file "ข้อมูลออกแบบระบบ Deemed" Sheet Device List
4 | See detail in file "ข้อมูลออกแบบระบบ Deemed" IP List List
Note on A3: BaxEnergy: This field has to be filled with a sequential number to identify and count the power plants
Note on B3: BaxEnergy: This field has to be filled with the "Name" used to identify the power plant
Note on C3: BaxEnergy: This field has to be filled with the renewable technology of the power plants (e.g. Wind, PV, BESS etc.)
Note on D3: BaxEnergy: This field has to be filled with the Nominal Power of the power plants or BESS.
Note on F3: BaxEnergy: Indicate the OEM of the turbines for wind, inverter for solar, etc.
Note on G3: BaxEnergy: This field has to be filled with the Manufacturer and Model information of the first level SCADA in the plant.
Note on H3: BaxEnergy: This field has to be filled with the information about the real time communication protocol of the first level SCADA: OPC UA - DA - XMLDA / IEC-104 / Modbus TCP / MQTT or other
Note on I3: BaxEnergy: This field has to be filled with the information about the historical communication protocol of the first level SCADA: ODBC (SQL) / FTP - sFTP / API or other
Note on J3: BaxEnergy: This field has to be filled with the information of the internet VPN connection so as to access remotely the power plant SCADA (Cisco AnyConnect, Cisco IPSec, OpenVPN, etc.)
Note on K3: BaxEnergy: This field has to be filled with the information if in the power plant is already present a TCP/IP network that connects all the devices to be acquired. This information is necessary to verify if the power plant has a unique acquisition point so as to connect to all devices on field
Note on L3: BaxEnergy: This field has to be filled with the number of the generation units of the power plant. (e.g. for wind: N° of Turbines, for PV: N° of inverters, etc.)
Note on M3: BaxEnergy: This field has to be filled with an estimation of the number of tags (data point) exposed by the real time flow of the power plant. In this number has to be included all the signals (Analogic and Digital)
Note on N3: BaxEnergy: This field has to be filled with the information about the Country/Region where is present the power plant
Note on O3: BaxEnergy: This field has to be filled with the information about the City/Town nearest to the power plant
Note on P3: BaxEnergy: This field has to be filled with the information about the latitude of the power plant
Note on Q3: BaxEnergy: This field has to be filled with the information about the longitude of the power plant
Note on R3: BaxEnergy: This field has to be filled with the information about the date of the commissioning of the power plant